## CONFIGURATION
Technical Site Survey Report
2G Configuration | SYSTEM MODULE | CELL | RF MODULE |  | UBBP type | BAND | TRX | ANTENNAS |  |  | RRU Cable |  |  |  |  | Driection | TILT |  | HEIGHT (m) | DUP | Power Splitter | RET | RET cable Length | Hybrid Comb.
|  |  | TYPE | QTY. |  |  |  | NEW/SWAP/EXIST | Antenna Type | Antenna Qty. | POWER LENGTH(m) | OPT LENGTH(m) | JUMPTER TYPE | JUMPTER LENGTH(m) | Q-TY |  | M | E
| ABB5800 | 1
2
3
4
|  | 1 | AAB5516w | 3 | ACCP11 | 1780Mhz | 3 | SWAP | T3003W6R011 | 2 | 10 | 20 | 4.7-10 - 4.7-10 | 3 | 4 | 50 | 0 | 0 | 5 | NO |  | YES | 6
|  | 2 |  |  |  |  | 3 | SWAP | T3003W6R011 | 2 | 10 | 20 | 4.7-10 - 4.7-10 | 3 | 4 | 130 | 0 | 0 | 5 | NO |  | YES | 6
3
4
3G Configuration | SYSTEM MODULE | CELL | RF MODULE |  | UBBP type | BAND | TRX | ANTENNAS |  |  | RRU Cable |  |  |  |  | Driection | TILT |  | HEIGHT (m) | DUP | Power Splitter | RET | RET cable Length | Hybrid Comb.
|  |  | TYPE | QTY. |  |  |  | NEW/SWAP/EXIST | Antenna Type | Antenna Qty. | POWER LENGTH(m) | OPT LENGTH(m) | JUMPTER TYPE | JUMPTER LENGTH(m) | Q-TY |  | M | E
| Shared | 1 | RRU56781 | 1 | UBBMj9 | 890Mhz | 2 | EXIST | Shared | 1 | 7 | 20 | 1/2 feeder | 8 | 4 | 50 | 0 | 0 | 5 | NO |  | NO
|  | 2 |  |  |  |  | 2 | EXIST | Shared | 1 | 7 | 20 | 1/2 feeder | 8 | 4 | 50 | 0 | 0 | 5 | NO |  | NO
3
4
|  | 1 | Shared with RRU7865s | 3 | UBBMj10 | 2200Mhz | 3 | SWAP | AQU4619R23v18 | 2 | 10 | 20 | 4.7-10 - 4.7-10 | 3 | 4 | 50 | 0 | 0 | 5 | NO |  | YES | 6
|  | 2 |  |  |  |  | 3 | SWAP | AQU4619R23v18 | 2 | 10 | 20 | 4.7-10 - 4.7-10 | 3 | 4 | 130 | 0 | 0 | 5 | NO |  | YES | 6
3
4
4G Configuration | SYSTEM MODULE | CELL | RF MODULE |  | UBBP type | BAND | TRX | ANTENNAS |  |  | RRU Cable |  |  |  |  | Driection | TILT |  | HEIGHT (m) | DUP | Power Splitter | RET | RET cable Length | Hybrid Comb.
|  |  | TYPE | QTY. |  |  |  | NEW/SWAP/EXIST | Antenna Type | Antenna Qty. | POWER LENGTH(m) | OPT LENGTH(m) | JUMPTER TYPE | JUMPTER LENGTH(m) | Q-TY |  | M | E
| Shared | 1 | RRU5678l | 1 | UBBMj9 | 890Mhz | 2 | EXIST | Shared | 1 | 7 | 20 | 1/2 feeder | 8 | 4 | 50 | 0 | 0 | 5 |  |  | NO
|  | 2 |  |  |  |  | 2 | EXIST | Shared | 1 | 7 | 20 | 1/2 feeder | 8 | 4 | 50 | 0 | 0 | 5 |  |  | NO
3
4
|  | 1 | Shared with RRU7865s | 3 |  | 2200Mhz | 3 | SWAP | AQU4619R24v18 | 2 | 10 | 20 | 4.7-10 - 4.7-10 | 3 | 4 | 50 | 0 | 0 | 5 |  |  | YES | 6
|  | 2 |  |  |  |  | 3 | SWAP | AQU4619R24v18 | 2 | 10 | 20 | 4.7-10 - 4.7-10 | 3 | 4 | 130 | 0 | 0 | 5 |  |  | YES | 6
3
4
|  | 1 |  |  |  |  | 1 | SWAP | AQU4619R24v18 | 2 | 10 | 20 | 4.7-10 - 4.7-10 | 3 | 4 | 50 | 0 | 0 | 5 |  |  | YES | 6
|  | 2 |  |  |  |  | 1 | SWAP | AQU4619R24v18 | 2 | 10 | 20 | 4.7-10 - 4.7-10 | 3 | 4 | 130 | 0 | 0 | 5 |  |  | YES | 6
3
4
5G Configuration | SYSTEM MODULE | CELL | RF MODULE |  | UBBP type | BAND | TRX | ANTENNAS |  |  | RRU Cable |  |  |  |  | Driection | TILT |  | HEIGHT (m) | DUP | Power Splitter | RET | RET cable Length | Hybrid Comb.
|  |  | TYPE | QTY. |  |  |  | NEW/SWAP/EXIST | Antenna Type | Antenna Qty. | POWER LENGTH(m) | OPT LENGTH(m) | JUMPTER TYPE | JUMPTER LENGTH(m) | Q-TY |  | M | E
| Shared | 1 | RRU56781 | 1 | UBBMj9 | N890Mhz | 2 | EXIST | Shared | 1 | 10 | 20 | 4.7-10 - 4.7-10 | 3 | 4 | 50 | 0 | 0 | 5 | NO |  | YES | 6
|  | 2 |  |  |  |  | 2 | EXIST | Shared | 1 | 10 | 20 | 4.7-10 - 4.7-10 | 3 | 4 | 130 | 0 | 0 | 5 | NO |  | YES | 6
3
4
1
2
3
4
Yeni RRU -larin her biri 4 jumper vasitesile antene qosulacaq.
SITE SWAP FEATURES | Equipment Location(BBU)
Installation Type(RRU)
Installation Type(RRU5900)
RF Module Type
Qeyd: Tilt ve azimutlar qurasdirma zamani AZRC ile deqiqlesdirilecek

## WL_56A0DS6
Wireless Survey Report
1. RF Antenna Information
RF Antenna Information | Group 1 Wireless Antenna
|  | Sector 1 | Sector 2 | Sector 3 | Additional Antenna1 | Additional Antenna2
| Antenna Height | 77 | 77 | 77 | 77 | 77
| Azimuth | 78 | 118 | 227 | 78 | 78
| Mechanical Tilt | 4 | 4 | 0 | 4 | 4
| Electrical Tilt | NA | NA | NA | NA | NA
| Frequency Band | CMCC | CMCC | CMCC | CMCC | CMCC
| Antenna Type | Other | Other | Other | Other | Other
Group 2 Wireless Antenna
|  | Sector 1 | Sector 2 | Sector 3 | Additional Antenna1 | Additional Antenna2
| Antenna Height | 67 | 67 | 67 | 77 | 77
| Azimuth | 23 | 73 | 289 | 77 | 79
| Mechanical Tilt | 0 | 4 | 9 | 2 | 4
| Electrical Tilt | 2 | 4 | 6 | NA | NA
| Frequency Band | 1000M | 2300M | 1145M | CMCC | CMCC
| Antenna Type | 11451479 | 11451479 | 11451479 | Other | Other
Group 3 Wireless Antenna
|  | Sector 1 | Sector 2 | Sector 3 | Additional Antenna1 | Additional Antenna2
| Antenna Height | 56 | 56 | 57 | 58 | 56
| Azimuth | 40 | 20 | 60 | 22 | 19
| Mechanical Tilt | 8 | 0 | 0 | 0 | 2
| Electrical Tilt | 8/4 | 8/5 | NA | NA | NA
| Frequency Band | 2700M,3600M | 2100M,4900M | 5300M,0350M | CMCC | CMCC
| Antenna Type | 11451589 | 11451589 | 11451589 | 11451589 | Other
Group 4 Wireless Antenna
|  | Sector 1 | Sector 2 | Sector 3 | Additional Antenna1 | Additional Antenna2
| Antenna Height |  |  |  | 78 | 78
| Azimuth |  |  |  | 59 | 59
| Mechanical Tilt |  |  |  | 8 | 8
| Electrical Tilt |  |  |  | NA | NA
| Frequency Band |  |  |  | CMCC | CMCC
| Antenna Type |  |  |  | Other | Other
Spcae Available for New RF Antenna(m) | Leg 1 | 32 | Leg 2 | 22 | Leg 3 | 22 | Leg 4 | NA
RF Free Pole(pcs) | Leg 1 | 2 | Leg 2 | 2 | Leg 3 | 2 | Leg 4 | NA
2. BBU & DCDU Information

## MW_56A0DS6
MW Survey Report
1. MW Antenna Information
|  | Antenna Height | Azimuth | Antenna Size & Model | Antenna Polaraization
MWLink 1 |  | 71 | 40 | A350-900HAC | O
MWLink 2
MWLink 3
MWLink 4
MWLink 5
MWLink 6
Space Available for New MW Antenna(m) | Leg 1 | 43 | Leg 1 | 43 | Leg 1 | 43 | Leg 1 | NA
MW Free Pole(pcs) | Leg 1 | 7 | Leg 1 | 7 | Leg 1 | 7 | Leg 1 | NA
2. MW RTN(IDU) Information
Exiting RTN Location, Quantity & Type |  | Location |  |  |  |  | Remarks
Quantity & type

## Power Load Information_56A0DS6
Power Load Information Survey Report
1. DCDU 14B Load Information
DCDU 14B Load Information | Load 0 | Load 1 | Load 2 | Load 3 | Load 4 | Load 5 | Load 6 | Load 7 | Load 8 | Load 9 | Location | Distance to Power cabinet
Fuse Capacity | 99A | 99A | 99A | 99A | 99A | 99A | 99A | 99A | 99A | 99A
DCDU 1 Port Information | A3200 | A3200 | A3200 | A3200 | A3200 | A3200 | AIRBUS | AIRBUS | AIRBUS | AIRBUS | 29" Rock | 8
DCDU 2 Port Information | A359 | A359 | A359 | A3510 | A3510 | A3510 | APU | APU | AIRBUS | AIRBUS | 29" Rock | 8
DCDU 3 Port Information
2. Apple Power System